## Slide 1: Scituate Public Facilities Master Plan Final Report to the Board of Selectmen
Assessment and Recommendations
November 18, 2014
by
Scituate Public Facilities Master Planning Committee

## Slide 2: AGENDA
Objectives and Scope
Executive Summary/Key Themes
Summary of Recommendations
Options Analysis
Project Costs
Capital Planning

## Slide 3: Objectives and Scope
The SPFMC was created by the Board of Selectmen in 2012 to:
  Assess the condition of major facilities
  Understand suitability of buildings given functional needs
  Develop a cohesive property use strategy
Based on perceived criticality, assessment focused on the following properties
  Council on Aging/Senior Center
  Fire Station No.3
  Gates Middle School
  Library
  Police Station
  Town Hall

## Slide 4: Executive Summary
Historical lack of investment in town buildings means that almost all facilities need significant repairs and are functionally obsolete
There is no viable option to “Do Nothing”. All buildings currently need significant investments to meet current building codes addressing energy efficiency, life safety, and handicap accessibility
The cost to renovate these buildings will not begin to address unmet programming needs.
Emerging themes
  Combine efforts across the municipal departments to leverage solutions that address needs of multiple constituencies
  Co-locating multiple functions will limit the overall number of properties that the town will need to manage and maintain

## Slide 5: Recommendations
Renovate/Expand Library, as approved
Build a new Middle School adjacent to the High School, as proposed
Build a new Public Safety Complex at corner of Route 3A and Mann Lot Road, as proposed
Renovate Gates School as the Town Center Complex for the Council on Aging, Town Hall, School Administration, and Recreation Center
Once major projects are complete, sell or repurpose the following properties: Council on Aging, Town Hall, Police Station, Fire Station No. 3 and Minot Fire Station
Develop and implement a rolling 5 year capital projects plan for every building.
Complete a detailed operations and maintenance plan for every building

## Slide 6: Library Options
Renovate Only
Replace HVAC, windows, roof, entrance, repoint brick, outdated electrical, cabling, and plumbing
Correct Accessibility issues
Inadequate parking will also need to be addressed
Total Cost: $4.0M
Renovation and Expansion
Replace HVAC, windows, roof, entrance
Correct Accessibility issues
Increase usable space by 40%
Provide meeting rooms for study groups and community meetings
Expanded technology platform
New children’s center on lower level
Increase parking capacity
Total cost: $12.0M
Taxpayer cost: $7.0M (before private donations)

## Slide 7: Middle School Options
Renovate Gates School
Replacement of all building systems, roof, entry, windows
Will require resolving handicap accessibility issues (16 level changes) within building
Construction length 2 – 3 years
Temporary classrooms will be required – trailers behind the High School
Will not address any of the MSBA educational program requirements
MSBA will not subsidize any portion of the renovation costs
6th Grade will remain at elementary schools
Renovation Costs: $45.0M
New Middle School
Co-locate with the High School
Allows school system to implement modern educational vision for middle school program
Brings the 6th grade back to the middle school
Plan is adaptable and flexible in the event the school population grows
High School and Town benefit from new, larger auditorium, and renovated wing for performing arts space and classrooms
Need to identify new homes for the Recreation Department and School Administration
Total Cost: $75.0M
Cost to Taxpayers: $54.1M

## Slide 8: Public Safety Options
Renovate Police Station and
Fire Station No. 3
Police Station - $6.0M
  Replace Leaky Roof, pipe insulation, electrical and cabling, single pane windows, security system, repoint exterior, replace entrances, HVAC
  Will address accessibility issues
  Will not address lack of interview space, non compliant holding cells, antiquated evidence handling
Fire Station No. 3 - $2.5M
  Replace roof, pipe insulation, electrical and cabling, single pane windows.
  Replace/reinstate floor drainage in the truck bay
  Install security system
  New HVAC distribution system
  Meet accessibility codes
Total Renovation Costs - $8.5M (est.)
New Public Safety Complex
27,000 square foot complex at corner of Route 3A and Mann Lot Road
  Scituate Police Station
  Fire Station #3
  Emergency Operations Center
  Joint Police/Fire Dispatch
  Fire Dept. Administrative Offices
Primary benefits
  Reduces police, fire, and EMT response time to Minot and West End by two minutes
  Will meet standards for detention facilities, evidence handling, and interview rooms
  Includes an Emergency Operations Center
  Creates central dispatch for police and fire
  New training room is also community meeting space
  Provides facilities that support today’s needs for skills and equipment
  Provides room at Fire HQ for Medical Triage Room
Total Cost - $16.2M

## Slide 9: Town Center Complex Options
Renovate Town Hall +
New Senior Center
Renovate Town Hall - $4.5M (est.)
  Replace roof, windows, HVAC, electrical and cabling, pipe insulation, concrete entrances, flooring, lighting, ceilings
  Address accessibility issues
  Does not solve for Board of Health, Veterans Affairs, Technology, School Administration, Recreation Department
Renovate Police Station as Town Hall Annex - $6.0M (est.)
  School Administration
  Recreation Department
  Provides space for Board of Health, Veterans Affairs, and Technology
Build a Senior Center - $7.6M (est.)
  Assume 20,000sf stand alone building
  Estimated cost at $380/sf
  Programs to be met per specifications from Council on Aging
Total Estimated Cost - $18.1 M
Town Center Complex
At Gates School
Gates School to be renovated as new home for
  Council on Aging
  Town Hall (all current functions plus Water Business Office)
  School Administration
  Recreation Department
Primary benefits
  Has the space to provide Council on Aging and Town Hall each with a full program
  Maximizes the use of meeting and recreation facilities
  Brings back concept of “Town Center” at the common
Key issues
  Ensure that Council on Aging program requirements are met
  Address parking needs, especially for seniors
  Address traffic patterns to ensure easy access for all users
Total Estimated Cost - $23.0 – $25.0 M

## Slide 10: Maintaining our Properties must be a Priority
Determine long term needs for all town buildings by developing a 5 year capital plan for each building (including but not limited to):
  Elementary schools (Jenkins, Cushing, Hatherly, Wampatuck)
  High School
  44 Jericho Road/ Harbor Community Building
  Fire HQ at First Parish Road
  Humarock Fire Station (Station #4)
  DPW Buildings (garage, salt shed, offices)
  Sewage Treatment Plant (central facility, pumping stations)
  Water Department (distribution plant, administrative offices, well stations, water tanks)

## Slide 11: What will these projects cost?
1Taxpayer Cost is Total Project Cost less estimated State Reimbursements. It does not include the impact of sale of surplus properties, possible CPC and other grant reimbursements, or private fundraising for the library.
2 Town Center at Gates School includes Council on Aging, Town Hall, School Administration, and Recreation Department
3 Taxpayer impact estimates based on prorated costs of 25 year bond funding at 4.25% interest rate
 | Total Project cost to be approved by voters | Taxpayer share (net of state reimbursements)1 | Taxpayer impact on $480,000 home – 1st year3
Library | $12.0 M | $7.0M | $46
Middle School | $75.0M | $54.1M | $541
Public Safety Complex | $16.2M | $16.2M | $149
Town Center Complex at Gates School2 | $23.0M – $25.0M | $23.0M – $25.0M | $229
Total | $128.2M | $102.3M | $965

## Slide 12: Potential Offsets for Project Costs
State Grants
  MSBA Grant (for the Middle School) $20.9 million
  MBLC Grant (for the library) $5.0 million
Other Sources of revenue (identified by the Revenue Working Group)
  Solar array revenues1 $100,00 per year
  Wind turbine revenues1 $100,000 per year
  Meals tax revenue1 $100,00 per year
  CPC $800k/5 years for Gates2
  ESCO est. $2.5 million for Gates
  Sale of surplus property tbd
1Revenues from these sources will need to be appropriated each year at town meeting.
2CPC funds requested for renovation of historic building

## Slide 13: Proposed Projects Timeline
 |  | 2015 |  |  |  | 2016 |  |  |  | 2017 |  |  |  | 2018 |  |  | 
 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4 | Q1 | Q2 | Q3 | Q4
Library |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Middle School |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Public Safety Complex |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Town Center at Gates Sch. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Legend: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Planning and Design |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Construction |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 14: APPENDIX

## Slide 15: Facility Assessment: Library
Year Built: 1978
Building Square Feet: 20,760
Land: 5.05 Acres
Lower level is not accessible
  Elevator and Stairs do not meet code
Significant upgrades required if renovated
  HVAC is insufficient
  Single pane windows
  Outdated plumbing and wiring
  Roof needs to be replaced
Functional Requirements not met
  Lack of small meeting spaces for students and children
  Insufficient meeting space for large groups
Library Renovation and Expansion Project Approved at Town Meeting (Dec. 2013)

## Slide 16: Facility Assessment: The Gates School
Year Built: 1916
Building Square Feet: 112,350
Land: 17.38 Acres
The School Feasibility Study determined that this facility is not suitable for continued use as the Middle School
  MSBA will only award grants to projects that meet educational programming requirements
  Renovating the school would not address programming requirements
Building requires significant renovation for any purpose
  HVAC systems are ancient, inefficient, and costly to operate
  Significant water damage to ceilings . Roof needs to be replaced.
  Plumbing , Electrical, and Fire Safety upgrades needed
  Numerous grade changes need to be addressed for proper handicap accessibility
  Windows and doors need to be replaced
  Parking and traffic plan needed
Could be a good location for Town Hall, Council on Aging, and Recreation
  Multi-purpose meeting spaces could be well utilized
  Large rooms (Library and Cafeteria) could be used for town and community meeting spaces
  Segregation of parking and adequate parking for Seniors would need to be addressed
  Use of existing gymnasium for Recreation and Seniors
  If shared by multiple constituencies, would optimize use of infrastructure (heating, kitchens, meeting rooms)
The building should be renovated for use as the town center complex or sold

## Slide 17: Facility Assessment: Police Station
Year Built: 1959
Building Square Feet: 10,031
Building requires extensive renovations
  Leaky roof needs to be replaced
  Pipe insulation in poor condition
  Single pane windows need to be replaced
  Crumbling concrete entry also has accessibility issues
  Insufficient security system
  Insufficient HVAC that is sourced from Town Hall
Significant functional issues
  Detainee cells are in poor condition and pose a safety hazard and do not meet state regulations
  Lack of private meeting rooms particularly for juveniles and families
  No computer room to secure servers and dispatch equipment
  No dedicated generator or UPS
  Inadequate evidence handling system (USPS mailbox)
  Dispatch area is a tangle of cables and needs greater security from the public
  Lack of training space
  Firing range is no longer used and is a hazard (discharged bullets containing lead)
  Not possible to combine dispatch without adding to the building
  No Emergency Operations Center
  Robust design (Concrete block) makes modifications very difficult.
A renovated building could be used as the Police Station but would need a large addition to meet program needs. Property could also be used as playing fields or as an annex to town hall.

## Slide 18: Facility Assessment: Fire Station No. 3
Year Built: 1952
Building Square Feet: 3,401
Building lacks functional amenities
  No separate sleeping and shower facilities for men and women
  Insufficient storage for apparatus and equipment
  No space for staff to interact with public (walk-ins)
  Lacks adequate, safe physical training area
  Airpack recharging unit is not operational
  l
Significant upgrades required if renovated
  Drainage in the truck bay is not functioning and is a safety issue
  Deteriorated pipe insulation
  Single pane windows and doors
  Lack of security
  Insufficient heating and cooling
  Outdated plumbing and wiring
  Traffic patterns create dangerous conflicts with school traffic
Could be repurposed as a school bus maintenance facility or demolished for playing fields

## Slide 19: Facility Assessment: Council on Aging
Year Built: 1920
Building Square Feet: 4,799
Land Square Feet: 21,780
Property is not suitable for functional needs of the Council on Aging
  Undersized for the population it serves.
  Insufficient kitchen/dining facilities
  Lack of private meeting space
  Insufficient activity space
Building would need a total renovation for any future purpose.
  Windows
  Partitions
  2nd floor is unusable
  Accessibility issues from the parking lot
  Sprinklers need to be added
Council on Aging should relocate to a facility that adequately addresses long term needs of this population. Study due in December that will address programming needs.
The existing property should be sold when vacated

## Slide 20: Facility Assessment: Town Hall
Year Built: 1952
Building Square Feet: 20,230
Land: 3.77 Acres (includes Police and Fire Stations)
Building needs significant renovation
  HVAC systems are antiquated, undersized to meet seasonal needs and costly to operate.
  No ventilation system to refresh air
  Window AC units are inefficient and expensive to run
  Pipe insulation in poor condition
  The computer room is insufficient for its purpose and cooled by residential window air conditioners
  Single pane windows
  Entrances are crumbling and do not fully meet accessibility codes
  Handicap ramp is not at front door
  Electrical wiring and cabling is outdated
  Lower level lacks accessibility for code compliant use
Not all functions for the town fit in the building
  IT office is located in a hall closet with no HVAC or fresh air supply
  Facilities Dept. is located at the DPW
  Veterans Affairs meeting space is not private
  Health Department meeting space is not private
  One committee room for all public meetings is insufficient to handle the meeting calendar
  No space for temporary or new staff
If decision is to renovate, an expansion is needed. If not used as a town building, could be demolished for playing fields or sold

## Slide 21: Committee membership
Doug Anderson, At Large – Electrical engineer/manages code consulting practice for engineering firm (30 yrs)
Ann Burbine, At Large – Business owner (25 years) of New Upholstery Shop
Jacqueline Carr, Public Bldg. Commission – Chief Admin Officer of Securities Finance, Financial Serv. Firm (15 yrs)
Al Bangert, Advisor – P&G Manufacturing and Logistics Executive (32 yrs), Scituate DPW (5 yrs), Electrical Engineer
Mary Ellen Gaziano, Library
Maura Glancy, Recreation
Richard Hebert, School Committee – Retired middle school teacher with 35 yrs experience
Robyn Levirne, School Committee – Graphic/web design entrepreneur, engineering background
Bill Limbacher, Planning Board – Sr Project Manager (ret.) for Verizon and Boston Communications Group
Kevin Kelly, Facilities
Marla Minier, Library – Retired school teacher with 36 years experience
Richard Mitchell, Council on Aging (ret.)
Craig Mutter, At Large - Architect with 22 yrs experience in cultural and education buildings
Karen Pritchard, At Large (Chair) - Heads corp. real estate function for financial serv. firm (20 yrs)

## Slide 22: Sources of Information
Durkee Brown/Existing Conditions Survey & Feasibility Study/Gates School – 8/7/2012
Durkee Brown/Gates School/ Conceptual Cost Estimates – 7/9/2013
Dore &Whittier/Feasibility Study Final report/Scituate Public Safety – 5/22/2014
RWS/Due Diligence Study/Scituate Town Hall Buildings – 6/3/2014
Town of Scituate website/Estimated Tax Impacts for proposed projects – current
Scituate Schools website/Reports from the Building Committee tab - current